Add new text as follows:

SECTION R1006

MASONRY HEATERS

R1006.1  Installation.  A Masonry Heater shall be installed according to one of the following:

- the terms of its listing, or

- ASTM E 1602 and the manufacturer’s instructions, or

- ASTM E 1602 and the supervision of a Certified Heater Mason.

R1006.2  Seismic Reinforcing.  Masonry heaters shall be anchored and reinforced as required in this chapter.  All masonry heaters shall maintain a minimum clearance of 4 inches (100 mm) to adjacent framing.  In Seismic Design Categories A, B and C, reinforcement and seismic anchorage shall not be required.  In Seismic Design Categories D1 and D2, masonry heaters shall be anchored to the foundation.  Where the masonry chimney shares a common wall with the facing of the masonry heater, the chimney portion of the structure shall be reinforced in accordance with Section R1003.3.

Add new text as follows:

## Chapter 43

REFERENCED STANDARDS

### ASTM

#### E 1602-94	Standard Guide for Construction of Solid Fuel Burning Masonry Heaters	R1006.2

Add new text as follows:

# SECTION R202

GENERAL DEFINITIONS

R202 MASONRY HEATER.  A Masonry Heater is a solid fuel burning heating appliance constructed predominantly of concrete or solid masonry having a mass of at least 500 kg (1,100 lb.), excluding the chimney and foundation. It is designed to absorb and store a substantial portion of heat from a fire built in the firebox by routing exhaust gases through internal heat exchange channels in which the flow path downstream of the firebox includes at least one 180-degree change in flow direction before entering the chimney and which delivers heat by radiation from the masonry surface of the heater.

R202 CERTIFIED HEATER MASON.  A Certified Heater Mason is an individual who has completed the Certified Heater Mason professional training and certification program of the Masonry Heater Association.