Adventures in Stove Testing

by Norbert Senf, Aug 18, 2017

EPA started regulating wood burning stoves for particulate (PM) emissions in 1988. Regulation was limited to airtight heating stoves. Masonry heaters were not regulated, the stated reason being that they were likely to be clean burning.

In Europe, only carbon monoxide (CO) emissions were regulated. CO is easy to measure, however PM can be very tricky. Wood smoke includes  compounds that will only be captured by a filter if you cool them down and condense them. This is done in the laboratory by mixing them with air in a dilution tunnel, and this is thought to simulate what happens in the ambient air in the real world.

State and county air quality authorities soon started to address wood smoke, and would often pass a generic local regulation that banned all appliances except those that were EPA certified. We (the fledgling Masonry Heater Association (MHA)) therefore decided to seek EPA certification.

Although we "knew" that masonry heaters were cleaner even than EPA stoves, nobody had ever measured the PM on one with the dilution tunnel method. With funding help from the Wood Heating Alliance (now HPBA), we were able to participate in a $100,000.00 test method development project for masonry fireplaces and masonry heaters. The project was headed by Dr. Dennis Jaasma at Virginia Polytechnical Institute (VPI).

The results were interesting, with some surprises. EPA did not accept the proposed test method. We immediately realized that we needed do a lot more testing,  and that we would need to develop the capability to do it ourselves.

We were fortunate in being able to arrange for training with OMNI-Test, one of the leading EPA-accredited certification testing laboratories, then and now. OMNI developed a training session for us that included presentations by regulators, an emission chemistry expert (Dr. Jim Houck),  and laboratory testing personnel. Dr. Stockton (Skip) Barnett showed us the low cost portable dilution tunnel that he invented, known as the Condar. He developed it while working for the Condar Company. It was widely used at the time by the major stove manufacturers for in-house testing to develop their certified  stoves.

The linked Powerpoint presents a summary of the work we have done at MHA to calibrate the Condar against the EPA Method 5G laboratory dilution tunnel. It includes a close look at the PM testing repeatability issues,  a major discussion point over the years.