New system of fuel combustion

Combustion represents a chemical reaction, which produces heat; during this reaction from simple substances, carbon and hydrogen, when they are combined with oxygen other substances are produced. During efficient combustion if air is used as oxidant, the output is carbonic acid from carbon, water vapors from hydrogen and nitrogen as a component of the air used for combustion, which represents 4/5 of the output volume. Actually, due to the unequal mixing of fuel with air, it should be supplied at a rate of 1.6 to 2.4 times the theoretical amount required. Therefore, there is always nitrogen, a surplus of air in the firebox that did not really take part in the combustion process plus the water vapors from water normally present in fuel. All these gases are called ballast gases, that is, they do not take part in combustion but only get heated from the combustion of carbon and hydrogen. In other words, they reduce the useful heat. The molecules of the above-mentioned gases are totally independent, that is, they are not coupled with each other.

In the system of forced gas movement (forced gas movement system) all these gases are mixed to form a single flow. As a result of mixing of hot and cold ballast gases the temperature in the firebox decreases, thus the conditions for fuel combustion worsen.

At the same time the flow diluted with cold ballast gases acts on the heat exchanger and further comes into the chimney. The design of forced-air installations is now so efficient that there is practically no room for improvement.

At present during combustion of any type of fuel in any type of firebox when air is used as oxidant, the main aim is to reduce the negative influence of ballast gases as the temperature of the flow in which the conditions of fuel combustion get worse, and the heat content of combustion products decreases, depends on their quantity. This also refers heat generators in all branches of industry.

For this purpose the following is used:

-	dry fuel, including pellets, briquettes, etc., product of power-consuming technique and expensive production technology;

-	minimization of quantity of the supplied air, which ensures complete combustion and absence of surplus of air.

The system of “Free gas movement” in interpretation of Kuznetsov, I. V., (hereinafter referred to FGM) assumes another mechanism of reduction the negative influence of ballast gases on the process of fuel combustion, as well as usage of extracted heat. It is based on the nature laws.

It is possible to improve the conditions of fuel combustion in the firebox, by removing ballast gases from the combustion zone.  Thus the efficiency of energy extraction from the fuel is increased, that is the heat content of combustion products is increased.  In other words, the heat content of combustion product depends on the type of oxidant and on the quantity of ballast gases.

The basics of theory of free gas movement were laid by a Russian scientist and metallurgist, Correspondent Member of the Academy of Sciences of the USSR, Professor Grum-Grzhimailo Vladimir Efimovich (1864-1928).  Further this work was developed using the principle of “Free gas movement” (FGM) by Grum-Grzhimailo’s follower PhD. Podgorodnikov Iosif Samuilovich (1886-1958).  He proposed building the stoves using “double bell” scheme.

The main idea lying at the basis of FGM theory that was formulated by Grum Grzhimailo, V. E. is as follows:  hot gas stream being surrounded by cold gas stream will rise up being lighter.  While making stove design in each of its part it is necessary to preset such a direction of gas movement, that would reflect their natural strive, hot gas up, and colder gas down. In their works Grum Grzhimailo, V. E. and Podgorodnikov, I. S. didn’t manage to solve the most important question regarding natural gas movement in the firebox in accordance with this classical determination; therefore all gases are mixed together to form a single flow.

Natural movement of hot gases in the firebox can be ensured only in a heat generator built in accordance with the formula, which I have patented:

The stove’s lower level and the fire box are combined to form a single space creating a lower bell”

The bell represents a vessel turned upside down. Cold particles in it are pushed out and the hot ones rise up. This formula provides for a dry joint (a 2- 3 cm crevice) between the firebox and the bell. The firebox may be different both with regard to its design and principle of fuel combustion. Any type of fuel can be used for combustion.

(Photo1) The gist of the formula is as follows:  Here we speak about fuel combustion in the firebox located in the bell and combined with it through 2-3 cm vertical crevice (dry joint) to form a single space.  Such arrangement makes it possible to create both in the bell and in the firebox conditions, in which the movement of gases provides for their natural behavior: hot gas rises up and the streams of cold gas go down.

This formula corresponds to the theory of Grum Grzhimailo, V. E. The novelty is in the fact that at such arrangement of the heat exchanger the conditions for natural gas movement are created not only in the bell but also in the firebox. In this case the lower and the upper limit of the specific heat stress of the firebox volume can be maintained.

The formula focuses on the fuel combustion in the firebox located in the bell and the optimum use of extracted heat energy. The main goals are:

- to obtain maximum heat during fuel combustion;

- maximize the volume of the heat obtained

- design the heat generator to meet functional requirements and ensure optimum heat emission.

The solution of these tasks became possible in a ”free-gas movement” (FGM) system where the firebox of the heat exchanger is placed inside the bell and is combined with it to form a single space through the”dry joint” (crevice).

It is possible to produce an effective combustion process and obtain maximum energy but use this heat inefficiently. Of course, it is preferable to completely extract the energy contained in fuel and use it effectively. Therefore, the total efficiency of a particular installation is made up of 1) the efficiency of energy extraction from the fuel and 2) the efficiency of heat usage.

The combustion efficiency equals what percent of the total energy resource can be transferred into heat during combustion.

The efficiency of energy extraction in the system of free gas movement and in the system of forced gas movement and what is the difference between them?

Moving gas flow in the heat generator with any convective system transfers heat energy and combustion products. The convective system is a tool for using of extracted heat energy, which can be used for heating of boiler of hot-water heating, radiator, etc.  In order to clarify the difference of gas flow movement mechanism in the system of free gas movement and that in the system of forced gas movement let’s imagine that an electric heater is the source of heat. In this case there’s no need to remove the combustion products.  Let’s fill the bell with a portion of hot air. Hot air being lighter will rise up and pulls out cold air from the bell and will remain inside the bell until it radiates the heat through the walls. If hot air generated by electric heater C (Fig.A1), is constantly supplied to the bell, Fig.A1, then part of the flow heat will be absorbed by the bell’s walls and the heat exchanger B placed inside it.  If the heat is generated in quantity larger than the bell with the heat exchanger can accumulate, the surplus of heat (cooled air from the lower zone of the bell) will flow over to the second bell К2 and then further to К3, if К2 won’t accumulate the full amount of heat.  Hot air movement in the bells takes place without chimney draft due to forces of nature and doesn’t require external energy. In the forced gas movement system the heat transfer is possible only due to the chimney draft.

(Photo 2) If hot air flow passes through the lower zone of the bell with blast (D) equal to draft (T) Fig.A2, then the flow heat under the influence of Archimedes force rises up where the heat exchanging processes take place.  The heat of hot air will be radiated to the bell’s walls and to the heat exchanger placed inside the bell, and the surplus of heat (cooled air) comes outside to bells К2, К3 etc, if they are available.

Water boiler register, air heater, retort for fuel gasifying and process materials, etc. can be used as a heat exchanger.

Theoretically it is possible to select such a heat exchanger that will be capable of accumulating all the heat.  In this case it is possible to say that the efficiency of use of the extracted heat will be close to 100%.

Heat transfer from gas to the heat exchanger depends on: the heat exchange contact area; on temperature difference; and contact duration. The larger they are the larger is the heat transfer. The bell may have any shape and volume, into which the heat exchanger can be inserted, that is to increase the heat exchange. At such arrangement of heat generator the area of the heat exchange and the time of contact of hot gases with the heat exchanger are increased, thus the heat exchange is improved.

We will get the same if the gas flow received during combustion of any type of fuel in another firebox at any type of combustion process when air is used as oxidant, Fig.A2, will be passed through the lower zone of the bell, at blast (D) equal to draft (T).  The flow contains combustion products, which represent a mixture of various gases, including ballast gases.  Their molecules are totally independent, that is, they are not coupled with each other. The products of combustion are:  carbonic acid (СО2) from combustion of carbon; water vapors from combustion of hydrogen, as well as ballast gases - water vapors of fuel; nitrogen;  and surplus of air.  This gas flow passing through the lower part of the bell is distributed according to the temperature of components.  Each particle of the gas flow has its own state: weight, temperature, energy and occupies a location in the bell determined by this state during the total time of free movement through the bell.  The hot component of the flow under the action of Archimedes force tends to flow upward exerts an influence on the heat exchange and is being present there all the time until the gases get cooled. Cold, heavy and harmful gases of the flow pass through the lower part of the bell not exerting much influence on the heat exchange. Most cold jets having maximum velocity pass through the lower zone of the bell not influencing much on the heat exchanger.

Therefore: When the gas flow passes through the bell the efficiency of use of the extracted energy increases as the influence of the ballast gases on the heat exchange decreases.

In a forced gas movement system all combustion products pass through the firebox and channels of convective systems of heat generator, mix into a single flow, in other words, decrease temperature and useful heat emission of the flow. Chimney draft is the driving force of the flow.

Hence an important conclusion: Optimum use of the exhaust energy received as a result of any type of fuel in any firebox when air is used as oxidant is realized due to the use of convective bell-shape system.

Efficiency of energy extraction from the fuel in the system of forced gas movement and free gas movement and the difference between the two.

To ensure the efficiency of operation of heat generator, reduce exhaust gas emissions, complete fuel combustion shall be ensured. Four conditions for complete fuel combustion are known, namely, optimum supply of primary and secondary air, good mixing of air with the fuel, high firebox temperatures and proper design of the firebox.

During combustion concentration of initial matters, fuel and oxidant fall down sharply. The concentration of combustion products and temperature level also rise sharply. In any system secondary air shall be supplied higher than the fuel to be able to burn fuel gases from fuel thermal decomposition.

In the system of forced gas movement, movement of oxidant and fuel gases takes place in incidental direction.  During the flow movement the flow is more and more mixed with ballast gases. At the end-stage of combustion flame concentration of fuel and oxidant is decreased.  The initial matters are separated by a large amount of combustion products. The possibility of quick contact of reacting molecules is rather difficult.  In this case it is essential to provoke intensive turbulence. It is also required to ensure adequate amount of air for combustion, to make its amount optimum that is minimize it and exclude incomplete combustion or air surplus.  However there is always a surplus of air, nitrogen and water vapors from water normally present in fuel in the firebox, which reduce the flow temperature, thus worsening the conditions of fuel combustion.  The energy that is present in the fuel is not extracted completely.  The extracted heat is used incompletely as it is used for heating of ballast gases present in the flow.

In order to improve the efficiency of heat extraction, that is, burn fuel more efficiently, it is necessary to reduce the negative influence of ballast gases and increase the temperature in the firebox.

In forced-gas installations, there is no good place for the heat exchanger that provides for maximum efficiency. If boiler heat exchangers are placed inside the firebox, the conditions for fuel combustion worsen. That is the more heat is used (the efficiency of use increases), the worse are the conditions of fuel combustion (the efficiency of energy extraction from fuel is decreased).  The heat exchangers placed in the firebox (cold core) decrease temperature, that is worsen the conditions of fuel combustion. When the channel area is increased to be able to place a heat exchanger the energy of the gas flow in it is getting diluted, that is the temperature in the flow is decreased.

Combustion of fuel in the bell is also possible without a firebox. However in this case it is not possible to achieve good fuel combustion: high temperature, optimum air supply for combustion, its proper mixing and preliminary heating.  Due to this reason combustion of fuel shall be performed in the restricted volume where the specified requirements can be met.

Unlike a forced-gas system, fuel combustion in a new system of free-gas movement takes place in other conditions.

(Photo 3) Firebox (Fig.3) is walled from all the sides and from top with a catalyst 2 (fire grate made of fire brick). The firebox is provided with “dry joint”1, connecting it with the bell.  The walls are provided with chambers through which secondary air is supplied above the fuel from the ash-pit.  The major part of the secondary air being heated all the way through the chambers made in the firebox walls and is supplied due to Archimedes force to the end-stages of combustion under the catalyst.  The air is also transferred through the 25 mm crevice in front of the firebox door, which is especially needed during kindling when secondary air cannot rise in the chambers. The “bell conditions” are created in the firebox where each particle of the gas flow has its own motion path determined by its state during the total time of its free movement through the firebox. In other words, hot particles are in the upper part and those that are less heated cannot go up. Secondary air comes out from holes located under the catalyst, enters the bell zone and is pulled down being heavy in the direction opposite the direction of the flow. By analogy, water pushes up particles that are lighter by weight.

Unlike a forced-gas system, the movement of oxidant and fuel gases goes in the opposite direction relative each other and due to that turbulence is ensured, and the molecules of fuel contact with the molecules of oxidant much more often. The combustion catalyst ensures turbulence of the outlet flow and high temperature in the firebox due to reflection of radiant heat. Such character of tubular exchange determines the speed of gas mixture formation, making this zone especially important. The fuel gas particles interact with oxygen of the air and extract heat turning into carbon dioxide, water vapor and other combustion products. The hot gases tend to flow up the bell creating high temperature zone and acting on the heat exchanger fitted outside the firebox. Ballast gases being cold can’t go up and are pulled out into the lower zone of the firebox; further they are transferred through the dry joint into the bell and then for reuse or into the chimney. Water vapors of the fuel being heavy can’t go up into combustion zone.  This is especially important for fuel combustion with high moisture content, for example, brown coal containing 45-55% of water, and is not suitable for combustion in a forced-gas system.

(Photo 4)  Compare the figure featuring combustion of recently cut wood in the fireboxes of boilers of constant firing of a forced-gas system with combustion in the newly-built free-gas system, in which the boiler registers are fitted in the bell (in the lower zone); the boiler functions without blasting. It is obvious that in high-temperature field a uniform heating of wood and a thermal destruction of wood (pyrolysis) takes place.  The conditions of fuel combustion in the firebox change.  Separation of cold ballast gases takes place, thus high-temperature combustion process is formed. That ensures heating and gasification of fuel as well as clean combustion. The mixture that is not capable of self-ignition at lower temperature is becoming capable of self-ignition at high temperature. The arrangement of the heat exchanger in the bell beyond the fuel combustion zone provides for energy extraction from fuel without decreasing the efficiency of energy extraction from fuel, thus increasing the efficiency of extracted heat.

During fuel combustion in heat generators of a free-gas movement system when air is used as oxidant the heat content of combustion products increases due to decrease of influence of ballast gases on the oxidation process.

The calorific value of wet wood is lower than the calorific value of dry wood. That means that during combustion of wet wood the amount of ballast gases increases.  The influence of ballast gases on combustion process and fuel calorific value can also be traced on acetylene combustion during welding. The calorific value of acetylene combustion products depends on the type of oxidant used, in other words, on the quantity of ballast gases. If air is supplied into the combustion zone instead of oxygen, the combustion temperature and the energy extracted from acetylene will be insufficient for metal cutting and welding.

In heat generators of a free-gas movement system the process of fuel combustion is natural, self-regulated and optimal. The conditions of fuel combustion are much better and the efficiency of energy extraction increases.

The free-gas movement system of Kuznetsov,I.V. has been developed and is widely used in the design and construction of furnaces and boilers using wood for fuel.  The system is marked with a high degree of flexibility that made it possible to create thousands of highly efficient stoves and boilers for various applications. There is a possibility of creation of a great number of heat generators of various shape, capacity and purpose, including multi-purpose and multi-storey heat generators as well as industrial ones. Continuously operated wooden boilers show wonderful results and efficiency. High-temperature combustion process takes place in their firebox.  This ensures heating and gasification of fuel at approximately 1060 о С under clean combustion conditions. They are used at present for heating houses of several thousand square meters area; in this case the movement of heat carrier is performed without a pump.  When we measure the quantity of wood being burnt a day we get the result that the energy content is less than the energy radiated by the boiler.  This is not very probable but that’s a fact, which has to be confirmed or disproved by tests. I have no possibility to do this.

The free-gas movement system is being introduced in many countries of the world.

The efficiency of the stoves built in accordance with our system as per the results of tests conducted in the U.S.A., Canada, France, Sweden, Russia and Germany is about 90%.  After some improvements as per experiments made in France we managed to achieve high purity of combustion.  The tests of our stove made by the independent Swedish company “AF-Kontrol AB” on 08.01.09 showed that exhaust of СО and organically connected carbon are much more below the permissible norms. The efficiency is more than 90%. I have the original protocol of tests in Swedish, http://www.ekonomka.se/ .

Gas generation in free gas movement system.

If we place organic domestic or industrial waste into tight metal tanks heated from outside without access of air we can produce solid, rich in carbon coke, vapor-gas

(product of pyrolisis) and different components. This is metal from car tires, cables and other waste, pyrolisis fuel, activated charcoal, etc. The coke can be processed into gas if we exert an influence of water vapor at high temperature. This gas is high-quality gas with calorific value of 2802 kcal/nm3. The extracted gas and coke can be used for receiving heat during combustion.

Gas plant of free gas movement system may have 1, 2 or more bells with retorts, one or more bells with a heat exchanger and heat-accumulating bell with a firebox. Each retort is located in its own bell where it is heated by the heat extracted from vapor-gases being combusted in the firebox or in the bell. The adjustment of heating is performed due to redistribution of direction of hot gas flows produced during combustion of vapor-gases in the firebox or as a result of change of amount of vapor-gases being combusted in the bell with retort. The production of high-quality combustion products in maximum volume is ensured by pyrolisis process control in every retort during all the cycles which is not possible to do in other systems. Practical result is available.

The plants don’t require external energy. They operate due to the energy extracted by raw materials during pyrolisis process.

Similar plants (modules) are produced by German company “Meta Pyrolyse-Anlagen GmbH", driven by electricity. Only in this case they managed to achieve control at every stage of fuel pyrolisis as well as high-quality products and recoupment of their production.  Nowadays in many countries of the world combustion of solid fuel is performed in two stages:

1. Costly and energy-consuming stage to produce pellets and briquettes, etc;

2. Combustion of pellets with regard to automation is organized at the level of gas.

In the system of free-gas movement it is possible to use wet fuel as its drying is performed with the help of waste gas heat. The expensive and energy-consuming stage of fuel preparation is excluded.  The adjustment of combustion capacity takes place without decreasing of efficiency.

A free-gas movement system provides for creating mechanism of vacuum drying of fuel due to the heat of waste gases. There is also a possibility of improvement of vapor-gas produced at low-temperature pyrolisis until the molecular decomposition degree to prepare for efficient combustion or processing.

Conclusion

A free-gas movement system can be used for combustion of any type of fuel, in any type of firebox at any type of combustion processes when air is used as oxidant.

A method has been found to separate harmful ballast gases in the process of fuel combustion as the temperature of the flow in which the conditions of fuel combustion get worse, and the heat content of combustion products decreases, depends on their quantity. This also refers heat generators in all branches of industry.

Further work regarding improvement of free-gas movement system requires participation of scientists, a wide range of experts in different fields and conducting of tests. All this requires creation of material and technical basis. This job requires a political and financial support and should be leaded by a strong economic manager.

19/09/2009 © Igor Kuznetsov "Kuznetsov's stoves"