## input
TIME BURN RATE WEIGHT OF FIREBOX DILUTION CHIMNEY INC. ENVEL ENVELOPE FIREBOX FIREBOX MIXING MEAN FLUE GAS EXIT MEAN FLUE INSTANT. FLUE FILM FLUE FRICTION
(SECS) (kW) WOOD (kg) FLOW(L/S) FLOW(L/S) FLOW(L/S) FLOW(L/S) PRES DROP WALL TEMP EXIT TEMP TEMP(C) GAS TEMP TEMP (C) LINER TEMP EFFICIENCY HT TRANS CF FACTOR
0 0 0 62.8 4.7 54 48.5 -1.9 100 100 60 84 100 84 0 9 0.5
0.3 0 6.737 41 4.3 45.3 40.7 -1.5 20 20 20 69.6 100 84 0 9 0.8
0.7 0 6.737 39 4.1 43.1 38.7 -1.4 20 20 20 55.9 100 84 100 9.3 0.8
1 0 6.737 37.2 3.9 41.1 36.9 -1.3 20 20 20 43.5 100 84 100 9 0.8
1.4 0 6.737 35.7 3.8 39.5 35.4 -1.2 20 20 20 32.3 54.7 84 100 9 0.8
1.7 0 6.737 35.2 3.7 38.9 34.9 -1.2 20 20 20 29.2 43.1 84 100 9 0.8
2 0 6.737 35 3.7 38.7 34.7 -1.2 20 20 20 27.9 37.8 84 100 9 0.8
2.4 0 6.737 34.9 3.7 38.6 34.6 -1.2 20 20 20 27.3 35.3 84 100 9 0.8
2.7 0 6.737 34.8 3.7 38.5 34.6 -1.2 20 20 20 27 34.2 84 100 9 0.8
3 0 6.737 34.8 3.7 38.5 34.6 -1.2 20 20 20 26.9 33.7 84 100 9 0.8
100 0 6.737 34.8 3.7 38.4 34.5 -1.2 20 20 20 26.7 33.1 82.2 100 9 0.8
200 0 6.737 34.7 3.7 38.4 34.5 -1.2 19.8 20 20 26.5 32.7 80.2 100 9 0.8
300 0 6.737 34.7 3.7 38.4 34.4 -1.2 19.7 20 20 26.3 32.3 78.2 100 9 0.8
400 0 6.737 34.7 3.6 38.3 34.4 -1.2 19.5 20 20 26.1 31.9 76.3 100 9 0.8
500 0 6.737 34.6 3.6 38.3 34.3 -1.2 19.3 20 20 25.8 31.5 74.4 100 9 0.8
600 0 6.737 34.6 3.6 38.2 34.3 -1.2 19.1 20 20 25.6 31.2 72.6 100 9 0.8
CHIMNEY/HOUSE BUOYANCY PRESSURE AT STANDBY (PA): 4.44
NET DRIVING PRESSURE PARAMETER (AT STANDBY)(PA): 4.44
FIREBOX EQUIVALENT LEAKAGE AREA OF FLOW (m2): .012
CHIMNEY EQUIVALENT LEAKAGE AREA OF FLOW (m2): .042
E.L.A. OF UPPER OPENING OR OF DOORS (m2): .002
ENVELOPE EQUIVALENT LEAKAGE AREA AT 10 PA (m2): .068
CHIMNEY LINER HEAT TRANSFER TIME CONSTANT (S): 4317
CHIMNEY FLOW DIRECTION AT STANDBY: UPWARD ( 1.06 M/S)
C A S E: WOOD BURNING - henry DATE: 02-14-1994
#VALUE!
TIME BURN RATE WEIGHT OF FIREBOX DILUTION CHIMNEY INC. ENVEL ENVELOPE FIREBOX FIREBOX MIXING MEAN FLUE GAS EXIT MEAN FLUE INSTANT. FLUE FILM FLUE FRICTION
(SECS) (kW) WOOD (kg) FLOW(L/S) FLOW(L/S) FLOW(L/S) FLOW(L/S) PRES DROP WALL TEMP EXIT TEMP TEMP(C) GAS TEMP TEMP (C) LINER TEMP EFFICIENCY HT TRANS CF FACTOR
600.5 0 6.737 34.6 3.6 38.2 34.3 -1.2 19.1 20 20 25.6 31.2 72.6 100 9 0.8
PHYSICAL CHARACTERISTICS OF THE SYSTEM
------------------------------------------
<-----------------C H I M N E Y-----------------> <--------E N V E L O P E------><--DILUTION OPENING-> <---------------------F I R E B O X----------------------->
1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19
DISTANCE->DATUM (M) 0.00 0 0 3.5 3.5 4 0 2.8 2.8 4 4 4 4 5.18 5.18 5.18 3.5 3.5 4
AREA OF OPENING (m2) 0.000 0.044 0.044 0.06 0.044 0 0 0 0 0 0.002 0 0 0 0.018 1 1 0.044 0
K FACTOR NORMAL 0.0 0.7 0 0.8 0.5 0 0 0 0 0 4 0 0 0 3 0 0 2.5 0
"TEMPERATURES OF THE FLUE GAS | LINER | AND STRUCTURE"
--------------------------------------------------------
F 1 F 2 F 3 F 4 F 5
FLUE GAS TEMP (C) 20 23.1 25.7 28.2 31.2
INNER LINER (C) 20 89.4 79.8 80 94
INSUL OR STRUCT (C) 20 85.3 77.1 77.3 96.1
OUTER STRUCTURE(C) 20 21.4 21.8 21.8 98.1
SURROUNDING (DEG C) 20 20 20 20 -10
THE MASSFLOW SYSTEM PARAMETERS
-------------------------------
<-----------------C H I M N E Y-----------------> <--------E N V E L O P E------><--DILUTION OPENING-> <---------------------F I R E B O X----------------------->
1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19
TEMPERATURE (DEG C) -10.0 31.2 31.2 20.0 20.0 20.0 -10.0 -10.0 20.0 20.0 20.0 20.0 20.0 20.0 20.0 20.0 20.0 20.0 20.0
DENSITY (KG/M3) 1.34 1.16 1.16 1.21 1.21 1.21 1.34 1.34 1.21 1.21 1.21 1.21 1.21 1.21 1.21 1.21 1.21 1.21 1.21
MASS FLOW (KG/S) 0.046 0.046 0.046 0.046 0.046 0.046 0.046 0.046 0.046 0.004 0.004 0.004 0.042 0.042 0.042 0.042 0.042 0.042 0.042
VOLUME FLOW (M3/S) 0.034 0.040 0.040 0.038 0.038 0.038 0.034 0.034 0.038 0.004 0.004 0.004 0.035 0.035 0.035 0.035 0.035 0.035 0.035
FLOW VELOCITY (M/S) 0.00 1.10 1.10 1.06 1.06 0.00 0.00 0.00 0.00 0.00 1.82 0.00 0.00 0.00 1.98 0.03 0.03 0.79 0.00
PRESSURE PARAMETERS OF THE FLOW SYSTEMS
---------------------------------------
NET BUOYANCY WIND EFFECT ENVELOPE LOSS FRICTION LOSS NET DRIVING FIBX BUOYANCY INLET DROP OUTLET DROP NET FIREBOX DILUTION PORT
10.348 0.000 -1.177 -1.177 7.994 0.000 -7.064 -0.931 -7.996 -7.995

S U M M A R Y T A B L E
-------------------------
OUTDOOR TEMPERATURE = -10 C
INDOOR TEMPERATURE = 20 C
WIND SPEED & PRESSURE SPEED PRESSURE COEFFICIENTS
COEFFICIENTS: (M/S) CHIM TOP INSIDE HOUSE
--------------------- ----- -------- ------------
HORIZONTAL COMPONENT 0 1.10 0.00
VERT. COMPONENT (+VE UP) 0 1.0
FLOW RATES: L/S KG/S
----------- --- ----
FIREBOX OUTLET FLOW 34.5 0.042
DILUTION AIR FLOW 3.6 0.004
CHIMNEY INLET FLOW 38.2 0.046
EXHAUST FAN FLOW 0.0 0.0
FLOW FROM COMPETING CHIMNEYS 0.0 0.0
NET ADDITIONAL ENVELOPE FLOW 34.3 0.0 (AT OUTDOOR TEMPERATURE)
INDUCED PRESSURE DROP ACROSS THE ENVELOPE = -1.2 Pa
TEMPERATURES:
---------------
AIR TEMPERATURE ABOVE FLAME= 20. C
FIREBOX EXIT TEMPERATURE = 20.0 C
CHIM GAS T. AFTER DILUTION = 20.0 C
MEAN FLUE GAS TEMPERATURE = 25.6 C
MEAN FLUE LINER TEMPERATURE= 72.6 C
THERMAL PROPERTIES OF FIREBOX & CHIMNEY
---------------------------------------
AT THE BASE OF THE CHIMNEY: FLUE GAS LINER SLEEVE STRUCTURE
-------------------------- -------- ----- ------ ---------
HEAT TRANSFER COEFF. 'U' (W/(m2.C)) 9.000 7.843 5.852 5.903
ELEMENTAL SURFACE AREA 'A' (m2) 0.252 0.600 0.624 0.840
ELEMENTAL MASS 'M' (KG) 0.026 11.814 12.287 142.842
HEAT CAPACITY OF MATERIALS 'CP' (W.S/KG.C) 1035.0 829.0 829.0 800.0
HEAT TRANSFER TIME CONSTANTS-OUT (S) 11.9 2081.3 2789.2 23045.9
HEAT TRANSFER TIME CONSTANTS-IN (S) 4317.0 2164.5 31292.5
ENVELOPE CHARACTERISTICS: WITHOUT WITH
#NAME?
---------- ----------
FLOW COEFFICIENT (M3/(S.PA^N) = 0.0305 0.0305
FLOW EXPONENT (--) = 0.720 0.720
LOCATION OF VCL BELOW CHIM TOP= 2.80 2.80(m)
FRESH AIR INTAKE TO THE FIREBOX
-------------------------------
----- NONE -----
ELA OF THE FIREDOOR
------------------
THE FIREBOX 'DILUTION OPENING' ELA = 0.0016 (m2)
THE FIREBOX 'COMBUSTION INTAKE' ELA = 0.0165 (m2)
IF THERE IS AN INTAKE GRILL THEN THE DOOR ELA IS THE DILUTION OPENING = 0.0016 (m2)
IF THERE IS NO INTAKE GRILL BELOW THE DOORS THEN THE TOTAL DOOR ELA = 0.0182 (m2)